October 44, 2016

Brendan Greco

Bio Med Realty Trust, LLC

270 Albany Street

Cambridge, MA 02139

RE:	PVI Water Heater Replacement

325 Vassar Street

Cambridge, MA

JOB 3210

Included in Quote

- Disconnect natural gas, water supply, and hot water supply & recirc piping, and vents through roof on existing (2) 90 gal PVI water heaters in penthouse

- Rigger to safely remove and discard (2) existing PVI tanks (approx. 1000lbs dry ea)

- Furnish and install (2) HTP PH199-119 Phoenix gas fired water heaters with the same capacity as the existing PVI

- New heaters to be installed on existing pads one at a time so there will be minimum interruption of hot water supply.

- Tie in after the first heater is piped should be approximately four hours

- Re-pipe natural gas, cold water supply, and hot water supply & recirc piping to new heaters

- Pipe new PVC exhaust and combustion air through the existing roof penetrations using concentric vent kits through the roof

- Permits/inspection

- Factory startup of heaters

- Insulate new piping

Not Included in Quote

- Off hours work

- Protection

- Sealing of roof penetrations

- Wiring