October 3, 2016

David Langton

Einstein’s Solutions

11 Summit Street

Fitchburg, MA 01420

RE:	Vertex

Annex PAT Lab

JOB 3197	                                         											                                                                                                                                         Included in Scope

PAT Lab

- Rough and finish plumbing for (1) LS-1, (1) LS-2, (1) recessed ES/EW, (1) T-1, (1) T-2, (1) T-3, (2) US-1 with (1) T-4, T-5, and T-6 on each.

- Furnish and install (2) foot pedal faucets on sink in Room 121 and (1) in Pat Open  Lab

- Pipe RODI to (1) sink and (1) Humidifier, non-potable water, tempered water and Lab waste to Lab sinks.

- Pipe VAC, CA, CDA, N2Q and N2 as shown

- Layout for slab cuts

- Permit

- Insulate all new water piping

- Label all new piping

- Valve tags as shown on drawings

Tablet Coater

- Clean Dry Air (CDA) with 1 ¼” supply to (1) 1” drop to HET unit and (2) ¾” drops to Coater and Purge

- 2” Purified Water (PW) loop with zero static valve below ceiling at use point

- All CDA piping below ceiling to be stainless steel with Swagelok fittings

- Label all new piping

- Valve tags as shown on drawings

Not Included in Scope

- Protection

- Cutting and patching

- Slab cut, excavation and backfill

- Connections to equipment