September 9, 2013

Rebecca Barlage

Commodore Builders

80 Bridge Street

Newton, MA 02458

RE:	Biogen Idec

Bio 8 Surgical Suite

15 Cambridge Center

Cambridge, MA

JOB 3225								                    		              I am pleased to submit this quote for plumbing and sprinkler work as per drawings A102, P000, P100, FS001 dated 8/30/13 by Vanderweil and Perkins + Will and the following scope of work.

Included in Scope

Plumbing

- Disconnect, make safe cut and cap as shown

- Rough and finish plumbing for (1) surgery sink

- Pipe O2 as shown to (12) T-1 drops.  Piping to drops in wall and terminate with the specified wall turret

- O2 piping shall be Oxygen grade copper with braised joints as per NFPA 13, 2005

- I carried (3) isolation valves above the ceiling that are not on the drawings.  This will allow for isolating the drops on either side of the room without affecting the other.

- I also carried isolation valve on the hot and cold water not on the drawings

- Hot work permit and fire watch for all braising

- LOTO as required

- Permit

Sprinkler

- Replace (4) existing sprinkler heads with new concealed and flex heads

Not Included in Scope

- Protection

- Off Hour

- Hydraulic calculations and sprinkler drawings

- Non Ferrous sprinkler heads