November 01, 2016

AEI

Architectural Environments, Inc. | AEI

6 Wesley Street | Chelmsford MA 01824

ATTN: Chris Gould-Kelley

RE: Biogen Bld. 8 2nd Floor Lab 8207A

JOB 3224

Included in Quote

- Furnish and install fixtures and plumbing for (1) new stainless steel sink (Elkay 2219), including NPHW, NPCW, tempered water, drain, & vent, eyewash (G-1806), and faucet (Chicago 930-SAM)

- Furnish and install CO2 drops (3) for incubators (1) double stack and (2) triple stack

- Furnish and install VAC and CA drops for the Liquid Handler.  This one is on a window wall and will have to come down on a mullion

- Furnish and install VAC for (4) new BSCs

- Furnish and install (3) Watts mini regulators for incubators

- Furnish and install (2) PRV for NPCW supply to triple stack incubators

- Connections to (4) BSC’s

- Coring for new 2” lab waste

- All fittings and pipe

Not Included in Quote

- Protection

- Off hours work

- Permits