July 30, 2026

Eduardo Lopes

Vertex Pharmaceuticals

1 Harbor St

Boston, MA 02210

Re: 	Chiller and Reactor Piping

Job 3222

Included in Scope

- Connect chilled water supply and return to the new chiller in the equipment room with the existing hoses

- Replace (1) existing 2” PVC sleeve with a 3” and add (1) new 3” sleeve.

- Cap (1) existing 2” sleeve

- Install rubber boots on the 3” sleeves in the reactor room

- Connect chiller tubing provided by Vertex from the chiller to the reactor.  This tubing shall pass through the 3” PVC sleeves

- Pipe chilled water from the existing drops in the hood along the wall and up vertically approximately 10’.  This piping shall be ¾” Type L copper with ProPress fitting and be insulated using fiberglass pipe covering with PVC jacket.

- Pipe rubber tubing from the new chilled water risers to the (3) glass vessels on the reactor

- Interconnect the (3) glass vessels in series using the rubber tubing

- All tubing to the glass vessels shall be insulated with armorflex

- Tubing connections to the glass vessel will be secured with SS hose clamps.

- Label new rigid piping

Not Included in Scope

- Off Hours

- Additional Pre insulated tubing from the chiller to the reactor