January 27, 2017

Chris Gould Kelley

AEI

300 Third Street

Cambridge MA. 01242

RE	 Alnylam,

300 Third St

First Floor Rad Room

Job 3276

Included in Scope:

- Rough and finish plumbing for (1) LS-1 and (1) EW/ES-1 as specified

- Pipe N2, AR, and NPCW to both sides of (1) Fume Hood

- Make safe, cut, cap and remove piping as shown

- Relocate (5) existing sprinkler heads using flex heads and replace heads with quick response concealed heads

- Insulate and label all new piping

- Permits and inspections

- As Built from CAD files provided by others

Not Included in Scope:

- Cutting and patching

- Protection

- Off hour work

- Heat trace on Lab Waste in P1

- Trap Primer.  This is on Fixture schedule but not shown on drawings

- Sanitization of RODI system

- Drain to Fume hood.  None shown on drawing

- Automatic switchover manifold as shown in Detail 4 on P00-03

- Alarm shut downs

- Hydraulic calculations