April 6, 2017

Chris Gould Kelley

AEI

300 Third Street

Cambridge MA. 01242

RE	Alnylam,

300 Third St

Third Floor ACF Renovation

JOB 3308

I am pleased to submit this quote for the Plumbing and Sprinkler work per Plumbing and Sprinkler drawings dated 8FEB17, Bulletin 1  by AHA and the following Scope:

Included in Scope:

- Rough and finish plumbing for (1) LS, (1) LS-2 as specified

- Pipe RODI as shown including (1) humidifier

- Pipe CWW as shown

- Pipe NCW to humidifier per HVAC drawing

- Relocate (5) existing sprinkler heads using flex heads and replace heads with quick response concealed heads

- Draining and filling for the sprinkler system

- Insulate and label all new piping

- Permits and inspections

- As Built from CAD files provided by others

Not Included in Scope:

- Cutting and patching

- Protection

- Off hour work

- Sanitization of RODI system

- Alarm shut downs

- Hydraulic calculations