March 26, 2017

Koji Kubota

Bryan Spencer

Vertex Pharmaceuticals

50 Northern Ave

Boston, MA

Re: 	Building 1

Lab 7053

Job 3297

Included in Quote

- Rough and finish plumbing for (1) Lab sink and (1) ice maker with filter

- Pipe lab waste to (6) cup sinks in Fume Hoods

- Pipe lab waste from future at riser in corridor 7051

- Furnish and install (1) floor drain with flashing for the ice maker

- Furnish and install (1) floor mounted ES/EW combination and (1) eye wash at new sink

- Pipe N2 to (2) Wall drops and (2) sets of back to back turrets at each of two island benches.  Furnish and install Chicago 909 turrets at each drop.

- Pipe N2 and CA to (3) ceiling Utility Panels above Fume Hoods

- Each utility panel will have 2 sets of N2 and CA

- Insulate all new water piping

- Label all new piping

- Coordinate all tie ins with Vertex Facilities personnel

Not Included

- Off hours

- Lab sink

- RODI

- Cutting and patching

- Chipping floor at floor drain for the flashing

- Ceiling Utility Panels with quick disconnect