March 16, 2017

Jon Bridge

AEI

6 Wesley St

Chelmsford, MA 01824

RE: 	Genzyme Framingham 									49NYA 5th Floor Biomarkers and Bio Analytics

Job 3289

Super:	Sean 978-551-6230

Included in Quote

- Cut, cap and make safe demo as shown

- Rough and finish plumbing for (1) relocated lab sink with eye wash and RODI.

- Re use the existing Stainless zero static valve and tie into the new poly pro drop in wall as discussed

- Furnish and install two cylinder regulator for Argon and Helium with Protocol manifold as specified

- All water, N2, AR, CA and VAC piping is carried with ProPress fittings and valves

- All Helium piping shall be braised with a Nitrogen purge with a fire watch and Genzyme hot work permit.

- RODI piping shall be poly pro to match existing except for the valve at sink as described above.

- Coordinate all tie ins with Super

- Plumbing permit for sink

Not Included in Quote

- Off hours work

- Protection

- Argon and Helium Cylinders

- Lab sink, faucet and eyewash